## Sheet1
No. | DESCRIPTION | MODEL | Qty
1 | compressor Bleed Valve Limit Switch, with lever at least 200 °C; 30Vcc/3A - 250Vac/1A-140Vcc/.004A | Type SP.396910 PN 83990129 GE NO.:328A7435PI | 7
2 | wheel space TC with lock | GE PN: 379A9705P053 | 15
3 | Connector thermocouple | GE PN:287A1399P019 | 15
4 | repair kit for (VA-18) | repair kit of valve:GE PN: 379A9636P001 Type: CY50697LC SP4660P1CE RSP KIT: A0506970001CE | 5
5 | Ignition Systems SMITSVONK Type:E-LIGHT-2000V-233311-SV98H-CR | Type:E-LIGHT-2000V-233311-SV98E-CR | 3
6 | bearing metal 4-5 | T. C. S4026PA3S120B0 | 15
7 | differential pressure switch for seal air | Model#: 107EL-EG12-P1-F0A Range: 0-12 in.wc | 4
8 | feilo power switch box | model: FP-1 120VAC/240VAC power: 12A 120VAC/8A 240VAC 50-60Hz | 7
9 | ovation processer module | 5X00241G02 | 2
10 | servo Valve For Governing AT ST2 | MODEL :G761-3033b TYPE: S63JOGA4VPL Pp: 4500 psi | 5
11 | Herion solenoid valve 220Vac (for hogging valves) | herion id nr. :8010777 d-code c1102 | 3
12 | SJAE Limit Switch Vlv. (250 VAC, 6A) | bernstein GC-SU2 O.BETG 602.2200.413 | 3
13 | SJAE Limit Switch Vlv Knee lever | KNW-E-EINR.GC KU13 391.2270.565 | 3
14 | IONISATION RELAY SMITSVONK HOLLAND | TYPE: SV98E 230VAC article no. : SEIR000405 | 3
15 | Ionization rod | Eclipse 13093-1 Flame Rod, 1/4", Length 12" | 4
16 | EXPLOSION PROOF IGNITION BURNER SMITSVONK | type : JB48LPGF 800/T3 rod length: 1.5 m serial no.: 8641 | 4