| Line | Description | Quantity | UOM |
| --- | --- | --- | --- |
| 1 | Sealing Washer 261A1600P001 | 30 | Each |
| 2 | Gasket ,spiral wound 318A9713P024 | 30 | Each |
| 3 | Gasket ,spiral wound 318A9713P036 | 30 | Each |
| 4 | Screw ,Socket Head N171P25010 | 60 | Each |
| 5 | Bolt Hexa.HD N14P29024 | 160 | Each |
| 6 | Bolt 239B5236P200 | 50 | Each |
| 7 | Gasket,pipe flange 324A9109P107 | 15 | Each |
| 8 | Bolt N733AP35048 | 350 | Each |
| 9 | Gasket,Packing Ring 287A1614P002/ 287A1614P004 | 115 | Each |
| 10 | Gasket ,spiral wound 314A5326P001 | 30 | Each |
| 11 | Bolt Hexa. Head 186C1916P022 | 60 | Each |
| 12 | Bolt Hexa. Head 186C1916P013 | 60 | Each |
| 13 | Bolt N733AP35064 | 300 | Each |
| 14 | Gasket,spiral wound 302A4594P031/ N5606P03006G11 | 20 | Each |
| 15 | Gasket,spiral wound 302A4594P027/ 372A1159P009 | 60 | Each |
| 16 | Gasket,spiral wound 302A4594P029/ N5606P02006G11 | 5 | Each |
| 17 | Gasket,spiral wound 302A4594P033/ N5606P04003G11 | 8 | Each |
| 18 | Gasket,spiral wound 302A4594P035/ N5606P05003G11 | 5 | Each |
| 19 | Gasket,spiral wound 302A4594P036/ N5606P06003G11 | 10 | Each |
| 20 | Bolt N14P33048 | 50 | Each |
| 21 | Bolt N14P33052 | 20 | Each |
| 22 | Bolt N14P35044 | 50 | Each |
| 23 | Bolt N14P35060 | 65 | Each |
| 24 | Bolt N14P35064 | 65 | Each |
| 25 | Bolt N14P35068 | 20 | Each |
| 26 | Nut ,self locking 5/8 974A827P008/ N265BP00033 | 100 | Each |
| 27 | Nut ,self locking 974A827P009/ N265BP00035 | 50 | Each |
| 28 | Fuel oil check valve 361A2943P007 | 30 | Each |
| 29 | Gasket,fuel gas piping 318A9701P004 | 60 | Each |
| 30 | O-ring ZURN accessory coupling part number GE : 91600572P009 | 8 | Each |
| 31 | O-ring ZURN accessory coupling part number GE: 185A1354P272 | 4 | Each |
| 32 | O-ring ESCO accessory coupling part number: 111200.020278.000 | 4 | Each |
| 33 | O-ring ESCO accessory coupling part number: 111200.020260.000 | 4 | Each |
| 34 | O-ring ESCO accessory coupling part number: 111200.020445.000 | 6 | Each |
| 35 | O-ring ESCO accessory coupling part number: 111200.020272.000 | 4 | Each |
| 36 | O-ring ZURN accessory coupling part number GE: 185A1354P278 | 4 | Each |
| 37 | TURBINE ACCESSORY COUPLING Part number GE : 307A9220G001 | 1 | Each |
| 38 | GT12 HYDRAULIC OIL PUMP 32002-40 GE PN 255A4806P001 | 2 | Each |
| 39 | Gas Turbine AC hydraulic pump GE part number: 302A1895P002 | 1 | Each |
| 40 | Gas Turbine AC hydraulic pump coupling GE part number: 302A1893P001 | 2 | Each |
| 41 | Gas Turbine AC Lube oil pump GE part number: 91406336P001 | 1 | Each |
| 42 | Gas Turbine AC Lube oil pump coupling GE part number: 91600663P714 | 2 | Each |
| 43 | Gas Turbine AC Lube oil pump coupling key GE part number: 91600663P708 | 2 | Each |
| 44 | Gas Turbine DC Lube oil pump GE part number: 91460680P001 | 1 | Each |
| 45 | Gas Turbine DC Lube oil pump coupling GE part number: 91600567P714 | 2 | Each |
| 46 | Gas Turbine DC Lube oil pump coupling key GE part number: 91600567P708 | 2 | Each |
| 47 | hydraulic relief valve with seal kit Part number: 91600714P002 part number seal kit : 91600714P02A | 4 | Each |
| 48 | Spare Part, PG9171E GTTYPE, 810273 SN, COUPLING HYD PUMP, WIKOV GEAR/ SKODA GEAR MFG, OK002293 DWG, OK204587-01 | 2 | Set |
| 49 | atomizing compressor gasket Manufacturer : WIKOV GEAR PART NUMBER : OK308184 | 4 | Each |
| 50 | Main hydraulic pump coupling GT12 Manufacturer: NIPPON GEAR PART NUMBER : 310Q387-911-017 PART NUMBER : 310Q387-911-018 Adapter with set screw ( Hydraulic pump coupling ) | 2 | Each |
| 51 | coupling Bushing 88CR- TC Manufacturer: KOP-FLEX Inc. part number : 1140146 | 1 | Each |
| 52 | coupling Bushing 88CR- TC Manufacturer: KOP-FLEX Inc. part number : 3751229 | 1 | Each |
| 53 | Flexible Coupling TC-AGB Manufacturer: ESCO Couplings NV part number GE : 91412922P001 | 1 | Each |
| 54 | O-RING Flexible Coupling TC-AGB manufacturer : ESCO Couplings NV part number: 111100.020441.000 | 4 | Each |
| 55 | GASKET Flexible Coupling TC-AGB manufacturer : ESCO Couplings NV part number: 449016.130000.006 | 4 | Each |
| 56 | MAIN ATOMIZING AIR COMPRESSOR MANUFACTURER: ATLAS COPCO COMPTEC INC. MODEL: SCF-6 SERIAL NO.: TBI0781831 GE P.N: 302A1537P006 | 1 | Each |
| 57 | GASKET#2 , Atomizing Air Pre-Cooler parts, GE P.N 91600698P002 , PG9171E | 4 | Each |
| 58 | Atomizing Air Pre-Cooler parts, GASKET#1 PID, 91600698P001 GE-P/N, PG9171E GTTYPE, 810273 SN | 4 | Each |
| 59 | Tube Bundle Spare Parts - GT 12, PG9171E PID, EGG0156 GE-P/N, Gasket Oil Side GTTYPE, 91429567P013 SN | 4 | Each |
| 60 | GASKET HEATEXHANGER | 4 | Each |
| 61 | Tube Bundle Spare Parts - GT 13, Gasket1 PID, 368A1960P014-230/24 GE-P/N, PG9171E GTTYPE, 810273 SN | 4 | Each |
| 62 | Tube Bundle Spare Parts - GT 13, Gasket2 PID, 368A1960P014-270/28 GE-P/N, PG9171E GTTYPE, 810273 SN | 4 | Each |
| 64 | Bolt 186C1916P049 | 30 | Each |
| 65 | Transition Piece Spare Parts., Locking Plate PID, 258A4784P015 GE-P/N, 717 ITEMNO, Transition Piece ARR, 103E3717G01 REFNO, 91-103E3717 DWG, PG9171E GTTYPE, EGG0156 & 810273 SN | 32 | Each |
| 66 | Combustion Chamber Spare Parts, Flow Sleeve ,Combustion PID, 101E2591G01 GE-P/N, 701 ITEMNO, Combustion chamber ARR, 103E3734G01 REFNO, 91-103E3734 DWG, PG9171E GTTYPE, EGG0156 & 810273 SN | 8 | Each |
| 67 | Combustion Chamber Spare Parts, Tube ,X-Fire tube ,Combustion PID, 239B9455P003 GE-P/N, 701 ITEMNO, Combustion chamber ARR, 103E3734G01 REFNO, 91-103E3734 DWG, PG9171E GTTYPE, EGG0156 & 810273 SN | 15 | Each |