THE HASHMITE KINGDOM OF JORDAN

SAMRA ELECTRIC POWER COMPANY

TENDER NO.    56 / 2026

PART (1)

INSURANCE COVERS FOR ASSETS OF

SAMRA ELECTRIC POWER COMPANY

Annex D-1

DESCRIPTION OF ASSETS

1. Samra Power Station:

Location of Station: The Station is located 10 Kilometers northeast Zarqa city and 4 Kilometers northeast Al Hussein Thermal Power Generating and Jordanian Petroleum Refinery on area for around 300,000 Square meters.

The station consists of Three Phases as follows:

- Phase I :

This Phase consists of Two Gas Turbines (GT1 & GT2) and one Steam Turbine (S T 1) with capacity of 100 MW for each unit. In addition to Two Heat Recovery Steam Generators (HRSG) along with the Fogging system and  ancillary systems to form a combined cycle basis. Noting that the generated power of the Steam Turbine equals 50% of the total generated power from each Gas Turbine.

- Phase II :

This Phase consists of Two Gas Turbines (GT3 & GT4) and one Steam Turbine (ST2) with capacity of 100 MW for each unit. In addition to Two Heat Recovery Steam Generators (HRSG) along with the Fogging system and   ancillary systems to form a combined cycle basis. Noting that the generated power of the Steam Turbine equals 50% of the total generated power from each Gas Turbine.

- Phase III :

This Phase consists of Two Gas Turbines (GT5 & GT6) with capacity of 142 MW for each Gas unit and one Steam Turbine ST3 with capacity of 143 MW. In addition to Two Heat Recovery Steam Generators (HRSG) along with the Fogging system and   ancillary systems to form a combined cycle basis. Noting that the generated power of the Steam Turbine equals 50% of the total generated power from each Gas Turbine.

- Phase IV:

This Phase consists of one Gas Turbine (GT7) with capacity of 145 MW and one Steam Turbine ST4 with capacity of  66.4 MW In addition to one Heat Recovery Steam Generators (HRSG) along with the Fogging system and  ancillary systems to form a combined cycle basis.

- Headquarter Offices:

THE COMPANY Headquarter offices located in Amman Um – Alsummaq in area No. 2018, plot No. 9 with a total occupied area of 4286 Square Meter and consist of following:

- Six Flours.

- Water Tanks.

- Warehouse.

- Furniture and decorations.

- Office equipment’s.

- General services.

Annex E-1

Samra Power Station and  Headquarter

SPECIAL CONDITIONS (PROPERTY INSURANCE COVER):

- COVER  : A-  Property All Risks including Machinery Breakdown – Station .

Sum Insured : 903,406,533 million  JOD

Loss Limit    : 180 million JOD

B- Property All Risks – Headquarter.

Sum Insured : 2.419 million  JOD

- PERIOD :	12 months as from 1st Aug 2026 till 31th Jul 2027

- Fire including but not limited to Smoke and Fire occasioned by:-

- Self ignition

ii.	  Over Running

- Excessive Pressure

- Short Circuiting

- Self Heating

- Leakage of Electricity

- Flashover and Over voltage

- Scorch Soot

- Lightning (Direct or indirect).

- Explosion, implosion and explosion of boilers including damage to Boiler itself, boiler explosion including fuel and gas explosion.

- Storm, Tempest, Windstorm, Hailstorm, Snow, Sandstorm, Thunder storm, Typhoon, Hurricane, Tornado, Cyclone, Flood, Earthquake, Subsidence, or land Slip, Ground Heave and Volcanic Action, Rainwater damage , and Inundation, and any other Atmospheric Disturbances.

- Glass Breakage.

- Aircraft (Military & Civil) and other aerial devices or articles dropped there from.

- Impact by any vehicle (Including those belonging to the insured) or animals.

- Water including bursting of pipes, breaking or overflowing of' water tanks, apparatus', sprinklers installations or pipes and apparatus leakage.

- Sprinklers and fuel pipes leakage as well as steam leakage.

- Strikes, Riots and Civil Commotions (SRCC).

- Malicious Damage following Strikes, Riots and Civil Commotions (SRCC).

- Theft, burglary following violent forcible entry/ exit.

- Business Interruption following Property All risks and Machinery Breakdown covering loss of profit, additional expenses to reduce loss and fixed expenses.

- Public Authorities Clause.

- Engineers, Consultants and Re-design Expenses limit JOD 250,000 each and  every loss

- Fire Fighting Brigade and Extinguishing expenses limit JOD 100,000.- each and every, loss.

- Re-entry of Computer Programs expenses.

- Expediting expenses, freight expenses and overtime expenses - limit JOD 500,000 each and every loss,

- Airfreight - Separate limit JOD 500,000 each and every loss.

- 72 Consecutive Hours Clause.

- Errors and Omissions Clause.

- Insuring Clause - on sudden accidental physical loss or damage basis.

- Reinstatement clause (new for old).

- 85% Condition of Average.

- Removal of Debris limits JOD 500,000.

- Cover extended to include minor Repair and Maintenance clause.

- Three months extension upon insured's request at prorata additional premium at same terms, conditions.

- Loss adjuster - to be agreed by both parties.

- Cancellation Clause (30 days) if requested by the Insured

- Cancellation Clause (90 days) if requested by the Insurer.

- Claims to be paid within (30) days after all supporting documents, Claims requirement are submitted and met by insured and after agreement on claim settlement amount by both parties is reached.

- Automatic Reinstatement of Sum Insured subject to pro-rata additional premium.

- Capital Addition Clause - limit 10% of Total Sum Insured without additional premium .

- Customer Extension Clause following Property Damage and/or Machinery Breakdown sublimit of JOD 5 Million.

- Named customer is National Electric Power Company (NEPCO).

- Claims Preparation Clause – Limit JOD100,000 A.O.O & in the aggregate.

- Waiver of subrogation against the contractors and / or subcontractors and / or engineers in respect of there on side only .

- Expansion works are going on in the station for a project to be noted and agreed by the bidder:

- All values including the station value represent the replacement value (New for Old) and based on evaluation process conducted by specialized international house of assets evaluation in the power industry.

- Waiver of Subrogation against National Electric Power Company (NEPCO)

- The insurer and /or leader of  insurance is committed to provide THE COMPANY with a full copy of  Insurance Survey Report For SEPCO  Assets in addition to the recommendations if the survey .

- Breakdown of Sums Insured and Detailed Business Interruption are attached in the  Tender. Since the cover of Property All Risks including Machinery Breakdown and Business Interruption with Loss Limit JOD 180 Million .

- Discount  on Long Term Agreement .

- No Claims rebate or Bounce .

- A cut - through clause : The policy allow The company to have the rights under the agreement cut- through clauses where the  insurer company becomes insolvent or are otherwise prevented from meeting their obligations .

- Paid Loss Records (Under Property All Risks including Machinery Breakdown Policy) :

| No. | Loss Details | Date of Loss | Status | Amount (JOD) |
| --- | --- | --- | --- | --- |
| 1 | GT 3 - Bushing Explosion on High Voltage Red Phase. | 10 Dec 2009 | Paid | 50,000 |
| 2 | GT 1 - Main Transformer incident. | 23 Dec 2010 | Paid | 350,000 |
| 3 | GT 4 - Incident on Third Stage Bucket. | 29 Aug 2011 | Paid | 2,070,000 |
| 4 | 2012 – 2026 | clean |  |  |

Breakdown of Sums Insured & Headquarter

Breakdown  of Sum Insured

| AREA | PHASE | MAKE | MODEL | DESCRIPTION | CAPACITY | IC | IC |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | US$ | JOD |
| GT1 | Phase 1 |  |  | GT1, Comprising: |  | 62,000,000 | 44,020,000 |
|  |  | GENERAL ELECTRIC | F9E | gas turbine | 100MW | incl | incl |
|  |  | GENERAL ELECTRIC | 9A5 | generator | 140 MVA | incl | incl |
|  |  | AREVA |  | main transformer | 135 MVA | incl | incl |
|  |  | AREVA |  | auxiliary transformer | 30MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT1 |  |  |  |  |  | 62,000,000 | 44,020,000 |

| HRSG1 | Phase 1 |  |  | HRSG Plant GT1, Comprising: | 175 tph | 18000000 | 12780000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Bypass stack and silencer |  | incl | incl |
|  |  |  |  | Heat recovery steam generator boiler |  | incl | incl |
|  |  |  |  | HRSG exhaust stack |  | incl | incl |
|  |  |  |  | Supporting steel structures, access platforms and steps |  | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - HRSG1 |  |  |  |  |  | 18000000 | 12780000 |

| GT2 | Phase 1 |  |  | GT2, Comprising: |  | 62,000,000 | 44,020,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | GENERAL ELECTRIC | F9E | gas turbine generator | 100MW | incl | incl |
|  |  | GENERAL ELECTRIC | 9A5 | generator | 140 MVA | incl | incl |
|  |  | AREVA |  | main transformer | 135MVA | incl | incl |
|  |  | AREVA |  | auxiliary transformer | 30MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT2 |  |  |  |  |  | 62,000,000 | 44,020,000 |

| HRSG2 | Phase 1 |  |  | HRSG Plant GT2, Comprising: | 175 tph | 18,000,000 | 12,780,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Bypass stack and silencer |  | incl | incl |
|  |  |  |  | Heat recovery steam generator boiler |  | incl | incl |
|  |  |  |  | HRSG exhaust stack |  | incl | incl |
|  |  |  |  | Supporting steel structures, access platforms and steps |  | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - HRSG2 |  |  |  |  |  | 18,000,000 | 12,780,000 |

| ST1 | Phase 1 |  |  | ST1, Comprising: |  | 60,000,000 | 42,600,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | FUJI |  | steam turbine | 100MW | incl | incl |
|  |  | FUJI | GTLRI 544/62-2 | generator | 133.33 MVA | incl | incl |
|  |  | AREVA |  | main transformer | 165MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - ST1 |  |  |  |  |  | 60,000,000 | 42,600,000 |

| ANCILLARY PLANT - PHASE 1 | Phase 1 |  |  | Phase 1 ancillary plant & equipment, comprising :- |  | 47,000,000 | 33,370,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | air cooled condenser |  | incl | incl |
|  |  |  |  | make-up water treatment plant |  | incl | incl |
|  |  |  |  | heater & filter/turbine gas regulating system |  | incl | incl |
|  |  |  |  | fuel unloading pump house |  | incl | incl |
|  |  |  |  | tank farm |  | incl | incl |
|  |  |  |  | tank farm pump house |  | incl | incl |
|  |  |  |  | foam tank house |  | incl | incl |
|  |  |  |  | water treatment plant |  | incl | incl |
|  |  |  |  | waste water treatment plant |  | incl | incl |
|  |  |  |  | warehouse/workshop contents |  | incl | incl |
| ANCILLARY PLANT - PHASE 1 |  |  |  |  |  | 47,000,000 | 33,370,000 |
| GRAND TOTAL OF PHASE 1 |  |  |  |  |  | 267,000,000 | 189,570,000 |
| GT3 | Phase 2 |  |  | GT3, Comprising: |  | 62,000,000 | 44,020,000 |
|  |  | GENERAL ELECTRIC | F9E | gas turbine | 100 MW | incl | incl |
|  |  | GENERAL ELECTRIC | 9A5 | generator | 141 MVA | incl | incl |
|  |  | KONCAR |  | main transformer | 150 MVA | incl | incl |
|  |  | AREVA |  | auxiliary transformer | 30 MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT3 |  |  |  |  |  | 62,000,000 | 44,020,000 |

| HRSG3 | Phase 2 |  |  | HRSG Plant GT3, Comprising: | 175 tph | 18,000,000 | 12,780,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Bypass stack and silencer |  | incl | incl |
|  |  |  |  | Heat recovery steam generator boiler |  | incl | incl |
|  |  |  |  | HRSG exhaust stack |  | incl | incl |
|  |  |  |  | Supporting steel structures, access platforms and steps |  | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - HRSG3 |  |  |  |  |  | 18,000,000 | 12,780,000 |
| GT4 | Phase 2 |  |  | GT4, Comprising: |  | 62,000,000 | 44,020,000 |
|  |  | GENERAL ELECTRIC | F9E | gas turbine | 100 MW | incl | incl |
|  |  | GENERAL ELECTRIC | 9A5 | generator | 141 MVA | incl | incl |
|  |  | KONCAR |  | main transformer | 150 MVA | incl | incl |
|  |  | AREVA |  | auxiliary transformer | 30 MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT4 |  |  |  |  |  | 62,000,000 | 44,020,000 |
| HRSG4 | Phase 2 |  |  | HRSG Plant GT4, Comprising: | 175 tph | 18,000,000 | 12,780,000 |
|  |  |  |  | Bypass stack and silencer |  | incl | incl |
|  |  |  |  | Heat recovery steam generator boiler |  | incl | incl |
|  |  |  |  | HRSG exhaust stack |  | incl | incl |
|  |  |  |  | Supporting steel structures, access platforms and steps |  | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - HRSG4 |  |  |  |  |  | 18,000,000 | 12,780,000 |

| ST2 | Phase 2 |  |  | ST2, Comprising: |  | 60,000,000 | 42,600,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | DONGFANG |  | steam turbine | 100 MW | incl | incl |
|  |  | HARBIN (HEC) | QF-108-2 | generator | 108 MW | incl | incl |
|  |  | TBEA |  | main transformer | 135 MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - ST2 |  |  |  |  |  | 60,000,000 | 42,600,000 |
| ANCILLARY PLANT - PHASE 2 | Phase 2 |  |  | Phase 2 ancillary equipment, comprising :- |  | 24,600,000 | 17,466,000 |
|  |  |  |  | air cooled condenser |  | incl | incl |
|  |  |  |  | make-up water treatment plant |  | incl | incl |
|  |  |  |  | heater & filter/turbine gas regulating system |  | incl | incl |
|  |  |  |  | black start generator facility |  | incl | incl |
|  |  |  |  | electrical workshop |  | incl | incl |
| ANCILLARY PLANT - PHASE 2 |  |  |  |  |  | 24,600,000 | 17,466,000 |
| GRAND TOTAL OF PHASE 2 |  |  |  |  |  | 244,600,000 | 173,666,000 |
| GT5 | Phase 3 |  |  | GT5, Comprising: |  | 88,000,000 | 62,480,000 |
|  |  | ALSTOM | 13 E2 | gas turbine | 142.5 MW | incl | incl |
|  |  | ALSTOM | 50WY21Z-095 | generator | 215 MVA | incl | incl |
|  |  | HYUNDAI |  | main transformer | 185 MVA | incl | incl |
|  |  | HOYOSUNG |  | auxiliary transformer | 30 MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT5 |  |  |  |  |  | 88,000,000 | 62,480,000 |

| GT6 | Phase 3 |  |  | GT6, Comprising: |  | 88,000,000 | 62,480,000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ALSTOM | 13 E2 | gas turbine | 142.5MW | incl | incl |
|  |  | ALSTOM | 50WY21Z-095 | generator | 215 MVA |  | incl |
|  |  | HYUNDAI |  | main transformer | 185 MVA | incl | incl |
|  |  | HOYOSUNG |  | auxiliary transformer | 30 MVA | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
|  |  |  |  | Fogging system |  | incl | incl |
| TOTAL - GT6 |  |  |  |  |  | 88,000,000 | 62,480,000 |
| ST3 | Phase 3 |  |  | ST, Comprising: |  | 166,500,000 | 118,215,000 |
|  |  | ALSTOM |  | steam turbine | 140 MW | incl | incl |
|  |  | ALSTOM/2013 | 50WY21Z-095 | generator | 215 MVA | incl | incl |
|  |  |  |  | main transformer |  | incl | incl |
|  |  |  |  | ancillary equipment |  | incl | incl |
|  |  |  |  | piping, electrics, instrumentation & controls |  | incl | incl |
|  |  |  |  | design & engineering |  | incl | incl |
| TOTAL - ST3 |  |  |  |  |  | 166,500,000 | 118,215,000 |
| ANCILLARY PLANT - PHASE 3 | Phase 3 |  |  | Phase 3 ancillary equipment, comprising :- |  | 8,300,000 | 5,893,000 |
|  |  |  |  | heater & filter/turbine gas regulating system |  | incl | incl |
|  |  |  |  | tank farm |  | incl | incl |
|  |  |  |  | tank farm pump house |  | incl | incl |
| ANCILLARY PLANT - PHASE 3 |  |  |  |  |  | 8,300,000 | 5,893,000 |
| GRAND TOTAL OF PHASE 3 |  |  |  |  |  | 350,800,000 | 249,068,000 |